Specific knowledge requirements for technical assessors and technical experts

- Testing/calibration laboratories

  - Technical assessors and technical experts must possess specific knowledge as required by part or all of the scope of accreditation, including:

- knowledge of ISO/IEC 17025:2005 and ISO/IEC 17025:2017,

- knowledge of the methodology of examining the fulfilment of its requirements and ability of its application in practice,

- knowledge of applicable EA, ILAC mandatory documents* and ability to examine their requirements,

- testing/calibration activity having performed for minimum 3 years before the appointment as technical assessor or minimum 2 years before the appointment as technical expert,

- knowledge of proper performance of the relevant testing and calibration methods,

- knowledge of estimation of measurement uncertainty,

- Competence in analysis of proficiency testing results including:

- Interpretation of the assigned value and acceptability criteria in all relevant types of proficiency testing, including interlaboratory comparisons and measurement audits, in order to afford a critical evaluation of quantitative and qualitative results of laboratories,

- Relevant knowledge about standards and guidelines on organization, performance and evaluation of interlaboratory comparisons, e.g. ISO/IEC 17043; ISO 5725 B1.1-6,

- Use of different types of proficiency testing for accreditation purposes appropriate to the work of the laboratory being assessed and in basic principles for proficiency testing,

- knowledge of test and calibration requirements and the technical basis for those requirements,

- knowledge of typical problem areas associated with the tests and calibrations,

- knowledge of specific external requirements relating to the accreditation scope (e.g., regulations, codes and standards),

- knowledge of laboratory organization and terminology associated with those tests, calibrations and related processes.

1.2	Additional requirements for calibration laboratories

- Knowledge of measuring instruments, equipment and calibration methods applicable to the given area,

- Knowledge of International Vocabulary of basic and general terms in Metrology (VIM).

1.3	*Applicable EA, ILAC documents:

- EA-4/02 M Evaluation of the uncertainty of measurement in calibration.

- ILAC-P9:06:2014 Policy for participation in proficiency testing activities

- ILAC-P10:01/2013 ILAC Policy on the traceability of measurement results

- ILAC-P14:01/2013: Policy for uncertainty in calibration

- ILAC-G8:03/2009: Guidelines on the reporting of compliance with the specification

- ILAC-G24/2007: Guidelines for the determination of calibration intervals of measuring instruments

- Inspection bodies

2.1. 	Technical assessors and technical experts must possess specific knowledge as required by part or all of the scope of accreditation, including:

- knowledge of ISO/IEC 17020:2012,

- knowledge of the methodology of examining the fulfilment of its requirements and ability of its application in practice,

- knowledge of mandatory EA, ILAC documents* for application and ability to examine its requirements,

- knowledge of inspection and reporting methods,

- knowledge of inspection requirements and the technical basis for those requirements,

- knowledge of typical problem areas associated with the inspection,

- knowledge of inspection and reporting processes including inspection techniques,

- knowledge of products/processes inspected,

- knowledge of applicable legislation and safety practices,

- knowledge of sampling methods, where relevant,

- ability to assess Type A, B, C status (lead assessors only), and

- knowledge of assessment techniques including techniques used for assessing professional judgment,

- knowledge of inspection body organization and terminology associated with those inspections and related processes.

2.2.	*Applicable EA, ILAC documents:

ILAC-P15: 07/2016 Application of ISO/IEC 17020:2012 for the accreditation of inspection bodies