POLICY

ON USE OF PROFICIENCY TESTING

AND INTERLABORATORY COMPARISONS

DAK-PO-05

APPROVED BY,

GENERAL DIRECTOR

Gentiana ISLAMAJ

CONTENTS

1. SCOPE	3

2. REFERENCES	3

3. RESPONSIBILITIES	3

4. GLOSSARY AND ABBREVIATIONS	3

4.1 Glossary	3

4.2 Abbreviations	3

5. DESCRIPTION OF POLICY	4

5.1  Requirements for PT/ILC participation	4

5.2  The use of PT/ILC participation in the assessment	6

6. ANNEXES	6

7. RECORDS	7

8. HISTORY	7

# 1. SCOPE

This document describes the policy of DAK regarding to the proficiency testing and inter-laboratory comparisons schemes and participation of testing and calibration laboratories and inspection bodies (where is relevant) in these schemes.

Proficiency testing can be used in several types of inspection (when available) when the results of testing activities directly affect and determine the result of the inspection or when required by law or regulators.

# 2. REFERENCES

- Law Nr. 05/L-117 on accreditation;

- ISO/IEC 17011:2017 Conformity assessment - Requirements for accreditation bodies accrediting conformity assessment bodies;

- ISO/IEC 17025:2017 General requirements for the competence of testing and calibration laboratories;

- ISO/IEC 17043:2010 Conformity assessment. General requirement for proficiency testing; EA-4/18 INF:2010 Guidance on the level and frequency of proficiency testing participation;

- ILAC P9:06/2014 Policy for participation in Proficiency Testing activities.

# 3. RESPONSIBILITIES

This policy is mandatory and applies to all DAK internal and external personnel involved in accreditation (such as DAK’s staff, PC, AC, TC and assessors and experts) and to testing/calibration laboratories and inspection bodies accredited by DAK or seeking DAK accreditation).

# 4. GLOSSARY AND ABBREVIATIONS

## 4.1 Glossary

For the purpose of this Policy the terms and definitions given in the standard ISO/IEC 17011:2017 and ISO/IEC 17043:2010 apply.

## 4.2 Abbreviations

| CAB | Conformity assessment body |
| --- | --- |
| DAK | Kosovo Accreditation Directory |
| EA | European co-operation for Accreditation |
| EPTIS IB ILAC | PT Scheme database Inspection body International Laboratory Accreditation Cooperation |
| ILC NMI PT | Inter-laboratory comparison National metrology institute Proficiency testing |

# 5. DESCRIPTION OF POLICY

DAK considers participation in ILCs and PTs is an important tool for demonstrating the technical competence of a laboratory. ISO/IEC 17025 requires laboratories to have quality control procedures for monitoring the validity of tests and calibrations undertaken. The monitoring may include participation in interlaboratory comparisons (ILCs) or proficiency testing programmes (PTs), but also by other means, e.g. the regular use of reference materials or replicate tests/calibrations using the same or different methods. These methods provide a mechanism for a laboratory to demonstrate its competence to both its customers and the accreditation body.

Proficiency testing may be used in some types of inspection where available and justified by the inclusion of testing activities that directly affect and determine the inspection result or when required by law or by regulators. It is, however, recognized that proficiency testing is not a usual and expected element in the accreditation of most types of inspections.

## 5.1  Requirements for PT/ILC participation

DAK policy is that all accredited laboratories shall participate in PT/ILCs where such schemes are available and relevant to their scope of accreditation. Where applicable, this also holds for accredited inspection bodies (IBs).

Technical competence can also be demonstrated by successful participation in interlaboratory comparisons (ILC) that have been organised for purposes other than PT in its strictest sense, for example:

- to evaluate the performance characteristics of a method;

- to characterise a reference material;

- to compare results of two or more laboratories on their own initiative;

- to support statements of the equivalence of measurement of NMIs.

Testing//calibration accredited laboratories, inspection bodies, must investigate scheme availability and determine the appropriateness of the scheme.

ISO/IEC 17025 require laboratories to evaluate suppliers, this includes PT providers. ISO/IEC 17043:2010 contains criteria for the competence of PT scheme providers. This standard is recognised as an acceptable basis for such an evaluation.

DAK recommends the use of an accredited scheme where it is available.

Laboratories may refer to the EPTIS database for availability of PT Schemes. EPTIS is an international database, the website address is www.eptis.bam.de.

Where no appropriate officially organized PT or ILC is available, laboratories are required to demonstrate the on-going validity of their tests by other means (use of reference materials, replicate testing, etc.).

When the schemes of the proficiency testing are organized by a non-accredited provider, the participant laboratory shall be able to demonstrate that it has assessed the provider according to requirements of standard ISO/IEC 17043:2010 and applicable EA and ILAC guides.

The compatibility of the provider is demonstrated by the preparation of the documented information related to:

- Implementation of quality management system

- Confirmed experience in organization of proficiency testing schemes.

- Information on preparation and treatment of samples

- The analysis of the testing data and definition of performance of the laboratory

- Definition of the reference values and reference uncertainties from testing and calibration laboratories to demonstrate the traceability of their measurements in accordance to requirements of ISO/IEC 17025:2017, where relevant and accessible.

The above-mentioned information is collected from the participating laboratory and assessed by DAK during the assessments.

Laboratories and, when applicable, IBs accredited by DAK are obliged to participate in PTs organized by EA at DAK’s proposal.

Laboratories and IBs shall formulate and document a strategy for the level and frequency of participation in PT and the plan on participation in PT for one circle of accreditation. The plan shall be regularly reviewed in response to changes in staffing, methodology, instrumentation, scope etc. Laboratories/IBs should use the EA Publication EA 4/18 Guidance on the level and frequency of proficiency testing participation for further guidance on how to establish a plan.

Laboratories shall justify their policy and approach to both frequency of participation and any non-participation in readily available PTs that are appropriate.

The laboratory/IB should define its level and frequency of participation after careful analysis of its other QA measures (especially those that are able to disclose, quantify and follow the development of bias of a stated magnitude). The participation should be made dependent on the extent to which other measures have been taken. Other types of quality assurance include, but are not limited to:

- Regular use of reference materials;

- Comparison of analysis by independent techniques;

- Participation in method development/validation and/or reference material;

- characterisation studies;

- Use of internal quality control measures;

- Other inter/intra – laboratory comparisons e.g. analysis of blind samples;

- within the laboratory.

DAK requires the applicants for initial accreditation or for extension of the accreditation scope to participate in at least one (1) PT/ILC where such schemes are available and relevant to their scope of application before accreditation can be granted.

DAK requires its accredited laboratories/IBs, in accreditation cycle of DAK, to take part in at least one (1) proficiency testing in such a frequency to guarantee its performance on main analysis within the accreditation scope.

In the accreditation cycle, the participation of the laboratory/IB is even more important in cases when there are doubts about the technical competence of the laboratory/IB (e.g. changes of personnel, inappropriateness of methods being used, unsatisfactory results from previous testing, etc).

DAK requires its accredited laboratories/IBs to have a procedure for investigating its results and carrying out appropriate corrective/preventive actions if necessary. Laboratories/IBs are also required to monitor and review their on-going participation and performance and to monitor trends in results as appropriate.

## 5.2  The use of PT/ILC participation in the assessment

The assessment of the results from the participation of the laboratory in the scheme is carried out by the assessment team of DAK. The lead assessor includes on its final report a brief evaluation of the performance of the laboratory in participation in PT/ILC.

The results of participation in the proficiency schemes are taken into account in the proposal for issuing accreditation. The following rules are used to assess results:

- A successful participation of the laboratory is considered positive in the final proposal for granting accreditation.

- In cases when the laboratory presents a low percentage of unsuccessful results compared to overall results, the assessment team assesses corrective actions and their effectiveness. If the interpretation and the actions of the laboratory were appropriate, the proposal for granting accreditation is not influenced from the unsuccessful results in the proficiency testing and the laboratory is requested to take part again in a relevant test until the next surveillance visit.

- If the laboratory presents unsuccessful results in the overwhelming part of the proficiency testing, the final proposal may request the limitation of the accreditation scope until an eventual successful participation of the lab in the relevant tests.

- The results from the proficiency testing are not considered as sole criteria to issue accreditation, but they help to formulate an objective opinion about the technical competence of the laboratory.

- Assessment team assesses the plan designed by the laboratory in accordance with EA- 4/18 INF:2010 Guidance on the level and frequency of proficiency testing participation.

# 6. ANNEXES

Not applicable

# 7. RECORDS

Not applicable

# 8. HISTORY

| Date of Edition | Prepared by | Description of applied changes |
| --- | --- | --- |
| 02.12.2015 | Ibush Luzha | New document. |
| 15.11.2019 | Valmira Sejdiu | Full revision to align with ISO/IEC 17011:2017 and DAK-PM-01 |